## Slide 1: NIF Recon Pinhole Analysis Pipeline

## Slide 2: High Level Flow Chart
Read Raw Image Data
Apply Flatfield + Subtract Background Image
Isolate Pinholes
Align Pinholes
Calculate Measured X-ray Photon Ratio
Subtract X-Ray Background + Floor the Image
Extract Filter Material Information
Calculate Transmission Curves
Calculate Theoretical X-Ray Photon Ratio
Electron Temperature Measurement

## Slide 3: Main Calculation: EstimateElectronTemperature_2D
EstimateElectronTemperature_2D
GrabParams_v3
PinholeAnalysis_2D
FindTemp
TheoreticalAnalysis_2D
RealUnits2Pixels
Inputs:
Location of Shot Data
Location of Calibration Data
Location of Filter Directory
Region of Interest – i.e., left, center, right portion of image
Pinhole to Isolate
Pixels to Smooth
Bin Size
How To Bin
Floor Value
Output:
2D temperature profile for the entire image

## Slide 4: Function Glossary - EstimateElectronTemperature_2D
EstimateElectronTemperature_2D
  For a given pinhole pair, this function will output an electron temperature map for the image
GrabParams_v3
  Used to extract the experimental parameters for a given shot
RealUnits2Pixels
  Converts a real-space length into units in pixel-space
PinholeAnalysis_2D
  Performs all analysis of the experimental images
TheoreticalAnalysis_2D
  Performs all theoretical calculations for the filter data
FindTemp
  Combines experimental measurements and theoretical calculations to calculate the electron temperature for a given point

## Slide 5: PinholeAnalysis_2D
PinholeAnalysis_2D
MakeProcessedData
SelectPinhole_2D
SwitchPinholes
AlignPinholes_2D
ProcessPinholes
BinningAlgorithm_v2
GrabParams_v3
GrabCalParams
ReadHDF5Data
Mirror
IterativePinholeAlignment
background_2D
floorPinhole_2D

## Slide 6: Function Glossary - PinholeAnalysis_2D
MakeProcessedData
  Takes in the raw image and performs any requisite transformations, flat fielding, and calibration to the raw image
GrabParams_v3
  Used to extract the experimental parameters for a given shot
GrabCalParams
  Used to extract the calibration parameters for a given shot
ReadHDF5Data
  Reads in the HDF5 data and produces a background subtracted, floored, image to process.
Mirror
  Rotates the image in whatever way necessary
SelectPinhole_2D
  Isolates a given pinhole out of the larger image based off of the provided [row, column] index of the desired pinhole
SwitchPinholes
  Used to ensure “pinhole1” in the code is always the high-signal/low-filtered pinhole
AlignPinholes_2D
  Used to align two given pinholes
IterativePinholeAlignment
  Iteratively aligns two pinholes horizontally, and then vertically, until no further alignment can be performed
ProcessPinholes
  Performs a background subtraction and floors the pinhole image at a user-specified value
background_2D
  Calculates the background to subtract off of a given pinhole
floorPinhole_2D
  Floors a given pinhole image at a user specified value
BinningAlgorithm_v2
  Bins a given image in accordance with a user-specified bin dimensions and binning process (e.g., taking the mean, median, or geometric mean of the bin)

## Slide 7: AlignPinholes_2D
AlignPinholes_2D
IterativePinholeAlignment
horizontallyAlignPinholes_2D
verticallyAlignPinholes_2D

## Slide 8: Function Glossary - AlignPinholes_2D
AlignPinholes_2D
  Used to align two given pinholes
IterativePinholeAlignment
  Iteratively aligns two pinholes horizontally, and then vertically, until no further alignment can be performed
horizontallyAlignPinholes_2D
  Horizontally aligns two given pinholes
verticallyAlignPinholes_2D
  Vertically aligns two given pinholes

## Slide 9: TheoreitcalAnalysis_2D
TheoreticalAnalysis_2D
extractFilterFileName
extractFilterThickness
calculateTransmissionCurves
GetFilterTransmission_v2
calculateTheoreticalRatio
DetectorResponse

## Slide 10: Function Glossary - TheoreticalAnalysis_2D
extractFilterFileName
  Constructs the filter file name and location from the x-ray parameters excel sheet
extractFilterThickness
  Extracts the filter thickness information from the x-ray parameters excel sheet
calculateTransmissionCurves
  For a given filter file location and thickness, this function calculates the corresponding net filter transmission curves
GetFilterTransmission_v2
  Used to calculate each individual transmission curve used in calculateTransmissionCurves
calculateTheoreticalRatio
  Calculates the theoretical ratio of x-ray photons emitted per pinhole for the appropriate filter materials and thicknesses
DetectorResponse
  This function is used to quantify the detector response as a function of energy when constructing the ratio calculated in calculateTheoreticalRatio

## Slide 11: Main Calculation: EstimateElectronTemperature_2D
EstimateElectronTemperature_2D
GrabParams_v3
PinholeAnalysis_2D
FindTemp
TheoreticalAnalysis_2D
RealUnits2Pixels
MakeProcessedData
SelectPinhole_2D
SwitchPinholes
AlignPinholes_2D
ProcessPinholes
BinningAlgorithm_v2
extractFilterFileName
extractFilterThickness
calculateTransmissionCurves
calculateTheoreticalRatio